A Hybrid Deep Learning Architecture for Automated Categorization and Lesion Delineation of Brain Strokes in NCCT Imagery

Purpose: Strokes, known as cerebrovascular accidents, represents the most critical medical emergency conditions, and need a fast and accurate prognosis to reduce the risk of permanent neurological damage or loss of life of a human. According to the World Health Organization, one in four adults aged over 25 years is expected to experience a stroke at some point of their lives. Medical image analysis is one of the promising approaches by specialists at hospitals in locating and identifying strokes. However, healthcare specialists are often limited by time delays, subjective variability, and inherent human judgment limitations.

### Approach: To overcome these limitations, this study introduces an automated hybrid deep learning architecture for comprehensive stroke analysis using non-contrast computed tomography (NCCT) scans. The proposed integrated system employed a dual-model approach: a ConvNeXt-base neural network is used for tri-stroke classification (hemorrhagic, ischemic, and normal). A U-Net architecture using an EfficientNet-B4 encoder for accurate lesion boundary delineation. The Brain Stroke CT Dataset is used to rigorously train and validate both models.

### Results: Accordingly, the classification component gave precision and recall of 95.8% and 96.1%, respectively, and the accuracy is 96.2%. The segmentation module yielded strong diagnostic capabilities with an image-level stroke detection sensitivity of 92.3% and specificity of 94.7% for stroke detection. A comprehensive validation framework and a practical testing application confirm the clinical usefulness of this approach.